# JOB AID- SMART Meter Ship file validation & provisioning

Consumers Energy – Enhanced Operations Rel. 4a

PJT03222.SAP.DM.JA.ZDM_ESN_DeProvision

09/18/2014

By Legodile Kwapa

## Section 1 - Intent of transaction ZDM_ESN_DEPROVISION- Smart Device DeReg/Deprovisioning:

The Smart Device DeReg/Deprovisioning – transaction code ZDM_ESN_DEPROVISION can be used to de-register and de-provision meters in Open Way Collection Engine (OWCE) based on the mode selected in the transaction.

The Acquisition lot mode triggers a web service to de-register meters from OWCE. The Recycle lot mode triggers a web service to de-register and then remove the meters from OWCE.

This transaction should only be used on an ad-hoc basis, as there are automated process triggers for both De-Registration and De-Provisioning..

De-registration is automated by a follow-up action that is part of Acquisition inspection lot usage decisions.

De-Provision automated by a daily  Redwood job, that will de-provision the meters from the day before.

The web service performs two functions:

- De-Registration of the End Points (meters) in OWCE

- Removal of End Points (meters) in OWCE

When meter are De-Provisioned the removal of the ISM key in Open Way Collection Engine (OWCE) is a manual step. The removal of ISM keys should always be performed after the end point definitions are removed from OWCE.

Prerequisite:

- The meter should be SMART meters.

- The SMART meters should have the Meter ESN field should be populated.

- The SMART meters must be registered and provisioned in OWCE.

- For SMART meters associated with an inspection lot. The results recording should have been completed.

- The SMART meters should have a user status of

  - 58 -  Retired No test/scrapped

  - 59 -  Retired with Test /scrapped

  - RMR -  Return to Vendor

## Section 2: Process steps:

| # | Section | Step # |  | Dept. |  | Description | Notes |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Execute transaction ZDM_ESN_DEPROVISION |  | 1 | MTC |  | Enter transaction ZDM_ESN_DEPROVISION and press enter |  |  |
|  |  | Option for Acquisition Lot Option for Recycle Lot |  |  |  |  |  |

| Option for Acquisition lot | 1a | MTC | Processing the inspection lot associated with an Acquisition Lot will trigger the web service to de-register the meters associated with the inspection lot. | Results recording must have been complete for the inspection lot. |
| --- | --- | --- | --- | --- |
|  | 1b | MTC | Click on the execution icon (short-cut: F8). | Remove the Simulation flag before execution |
|  | Option for Acquisition lot |  |  |  |

|  |  | 1c | MTC | A confirmation will be shown after the transaction is executed. |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  | 2a | MTC | To process meter associated with a recycle lot. Click the radio button for recycle lot. |  |  |
|  |  | 2b | MTC | Enter the material and the serial number (s) for the meters associated with the recycle lot |  |  |
|  |  | 2c | MTC | Click on the execution icon (short-cut: F8). | Remove the Simulation flag before execution |  |
|  |  | 2d | MTC | Online confirmation that “DeRegistration Service Triggered Successfully” |  |  |
|  |  | 3 | MTC | For both options, an email confirmation will be sent to the Joint MTC-SEOC P.O. Box. |  |  |

Revision History

| Version | Author(s) | Date | Significant Changes |
| --- | --- | --- | --- |
| 0.1 | Legodile Kwapa | 09/18/14 | Initial Draft |