| R4A Electric Deployment – AMI Electric Poly phase Meter |  |  |
| --- | --- | --- |

# Index

Index	ii

1.	Scope	1

1.1.	Process Scope	1

1.1.1	Electric Poly Phase Meters	1

1.1.1.1	Meter Acquisition and Creation Process	2

1.1.1.2	Meter RMA (Return Merchandise Authorization)	3

1.1.1.3	Meter Retirement	4

1.1.1.4	Meter Testing	4

1.1.1.5	Automation of Ship Files and Processing of Head End Files	5

1.1.1.6	Planning and Deployment of Meters	6

1.1.2	Accelerated Deployment of Meters	7

2.	Process Requirements	9

2.1.	Business Process Diagrams	9

2.2.	Projected Standard Report Utilization	9

3.	SAP Solution Design	10

3.1.	Solution Key Design Decisions	13

3.2.	Design details	14

3.3.	Gaps	17

3.3.1	Meter Acquisition and Creation	17

3.3.2	Meter Return Merchandise Authorization (RMA)	18

3.3.3	Meter Retirement	18

3.3.4	Meter Testing	19

3.3.5	Planning and Deployment of Meters	19

3.3.6	Accelerated Deployment of Meters	20

3.4.	Gap Resolution	21

3.4.1	Meter Acquisition and Creation	21

3.4.2	Meter Return Merchandise Authorization (RMA)	22

3.4.3	Meter Retirement	22

3.4.4	Meter Testing	23

3.4.5	Planning and Deployment of Meters	24

3.4.6	Accelerated deployment of Meters	24

3.5.	Technical Considerations – Forms	25

3.6.	Technical Considerations – Reports	25

3.7.	Technical Considerations – Interfaces	26

3.7.1	Meter Return Merchandise Authorization (RMA)	26

3.7.2	Meter Acquisition and Creation	27

3.7.3	Meter Retirement	27

3.7.4	Meter Testing	28

3.7.5	Planning and Deployment of Meters	28

3.7.6	Accelerated Deployment of Meters	28

3.8.	Technical Considerations - Conversion Requirements	28

3.9.	Technical Considerations – Enhancements	29

3.9.1	Meter Acquisition and Creation	29

3.9.2	Meter Return Merchandise Authorization (RMA)	29

3.9.3	Meter Retirement	30

3.9.4	Meter Testing	30

3.9.5	Planning and Deployment of Meters	30

3.9.6	Accelerated Deployment of Meters	30

3.10.	Technical Considerations – Workflows	31

3.10.1	Meter Acquisition and Creation	31

3.10.2	Meter Return Merchandise Authorization (RMA)	31

3.10.3	Meter Retirement	31

3.10.4	Meter Testing	32

3.10.5	Planning and Deployment of Meters	32

3.10.6	Accelerated Deployment of Meters	32

3.11.	Technical Considerations – Portals	33

3.11.1	Meter Acquisition and Creation	33

3.11.2	Meter Return Merchandise Authorization (RMA)	33

3.11.3	Meter Retirement	33

3.11.4	Meter Testing	34

3.11.5	Planning and Deployment of Meters	34

3.11.6	Accelerated Deployment of Meters	34

3.12.	User Roles and Authorizations	35

3.13.	Technical Considerations – Business Process Procedure	35

3.14.	Performance Considerations	36

3.15.	Regression Test Considerations	36

4.	Implementation Considerations	38

4.1.	Key Performance Indicators (KPIs)	38

4.2.	Major Policy/Regulatory/SOX Considerations	38

4.3.	Organization Change	39

4.4.	System Contacts	39

5.	Outstanding Issues	39

6.	Documents Referenced	40

7.	Conclusion	41

8.	Sign-off	42

REVIEWER(S)	42

APPROVER(S)	43

9.	Contributors and Participants	44

10.	Version Control	45

Scope

Process Scope

This solution design document covers the below electric deployment sub-processes for R4A Electric Poly phase Meter Deployment.

This document will only address changes that need to be made to the existing framework defined for Electric Single phase AMI meters, to enable the acquisition, testing, retirement and deployment of Electric Poly phase meters for R4A.

GE Kv2c Electric Poly phase Meters will be deployed as part of R4A. It is assumed that Electric Poly phase AMI Meter processes will be identical or similar to those of Centron single Phase AMI meters. This document assumes that the reader has a basic understanding of R3 Single Phase Electric AMI Meter processes. As such detail descriptions are not provided for processes that already exist as a result of R3.

Confirmation has been received that all Accelerated deployment related work will not be addresses as part of R4A, but will be deferred to a later release.

    - Electric Poly Phase Meters

The acquisition, reverse logistics, testing, planning, execution and deployment processes established for AMI Single Phase Electric meters by Release 3 and prior releases, will be leveraged to support the Kv2c Electric Poly phase Meters deployed as part of R4A. The system changes implemented by R4A will be directly related to the automation of the receipt, validation and  processing of the meter Ship Files (305, End Point Group List, End Point Definition List, and the Pseudo Ship Files). Automation will also affect the subtopics of RMA, Retirement, Meter Testing and the addition/de-registration/clean-up of end point on the Open Way Collection Engine (OWCE).

The sub process for Electric Poly phase Meters which have some changes compared to Electric Single Phase Meters deployed in Release 3, which are relevant for discussion within this document are as follows:

      - Meter Acquisition and Creation Process

Electric Meter Acquisition and Meter Creation Processes are listed below as follows.

- Purchase Order is created and sent to meter vendor

- Meter vendor use secure file transfer protocol to send the ship files

- The Ship files are then loaded into SAP and OWCE. Loading of following files in SAP [Pseudo Ship File, 305 file] and Open Way Collection Engine (OWCE) [End Point Group List, End Point Definition List, ISM]).

Files loaded to SAP:

  - Manufacturer’s Test Results File (305 File) changes for Electric Poly phase Meter.

  - Pseudo Ship File (PSF)

Files loaded to OWCE:

  - Endpoint Definition List XML

  - Endpoint Group List

  - ISM Key File

- Electric Meter Creation Process.

- Electric Meter Classification Process.

- Uploading of the meter ESN and Verizon Reconciliation table

- Manufacturer Test Results

- Goods Receipt of the meters

- Acquisition testing

R4A changes:

The acquisition and creation process established for AMI Single Phase Electric meters will be leveraged to support the Kv2c Electric Poly phase Meters deployed as part of R4A.

The system changes implemented by R4A will be directly related to the automation of the receipt and processing of the Ship Files (305, End Point Group List, End Point Definition List, and the Pseudo Ship Files), which will be discussed in Automation section (Section 1.1.1.5).  The remaining processes will be similar to what is implemented in Release 3 for Single Phase Meters.

      - Meter RMA (Return Merchandise Authorization)

Based upon the information provided from the MTC, the test process for the Electric Poly phase meters will follow the same guidelines that are currently in place for the Electric Single phase and Legacy Poly phase meters. The RMA process will not change as a result of R4A.

There is a possibility that new/additional vendor analysis codes might be needed for the AMI Poly phase meters. This would require additional codes to be added to the catalogue.

The RMA process is similar to the acquisition process with a few exceptions. In general, the main difference is that RMA’s will have different purchase order document types and there has to be a stock transfer posting to the Vendor. Additional modifications to the process are as follows:

- In the current process a Ship File (305 file) is received with every meter shipment. The 305 file for inbound RMA shipments will contain Vendor analysis codes and there will be some additions to these codes.

- It is currently a manual process to de-register meters during the RMA process. A change will be needed to automate this de-registration process.

R4A changes:

De-registration of endpoint on the head end will be automated using web services. The triggers will be from SAP processes.

Please refer to the automation section 1.1.1.5 below for more details.

      - Meter Retirement

As with the Acquisition and RMA processes above, there are no anticipated processes or system changes required to accommodate the R4A deployment of Poly phase meters.

It is currently a manual process to de-register meters during the Retirement process. A change will be needed to automate this de-registration process.

R4A changes:

De-registration and clean-up of endpoint on the head end will be automated using web services. The triggers will be from SAP processes.

Please refer to the automation section 1.1.1.5 below.

      - Meter Testing

Consumers Energy MTC/SEOC performs the following tests on Electric Meters. It is assumed for R4A the below tests will remain unchanged:

- Technical Assessment

- 1st Article Testing

- Acquisition Testing (follow up action to be modified to trigger web services)

- Recycle Testing (follow up action to be modified to trigger web services)

- Manufacturer Test Result (305 File)

- Validation of Pseudo Ship File contents

Quality Management (QM) Master Data will need to be setup to support AMI Electric Poly phase Meter Testing. It is assumed that the QM master data already in use for Legacy Poly phase meters can be referenced or copied to accelerate the creation of QM master data for the AMI Electric Poly phase meters and it will created by business.

Although the process is not going to change, there will be some automation carried out for some of the steps related de-registration in Head-End, which is Open Way Collection Engine (OWCE). It is currently a manual process to de-register the meter at the Head-End.

After being pulled from a premise, a meter is still considered registered at both the meter level and in the Open Way Collection Engine (OWCE). After the MTC completes the testing of the meter, they will de-register it using a probe, but the Head-End (OWCE) will not know that the meter has been de-registered at the meter level. A change will be needed to automate this de-registration process.

R4A changes:

De-registration and clean-up of endpoint on the head end will be automated using web services. The triggers will be from SAP processes.

Please refer to the automation section 1.1.1.5 below.

      - Automation of Ship Files and Processing of Head End Files

As a part of the R4A AMI Electric Poly phase meter deployment business requirements captured in the Business Architecture Team (BAT) approved Electric Polyphase BPD, there are numerous requirements that overlap the Supply Chain (Acquisition, RMA, Retirement) and Testing subtopics that have already been discussed in the above sections.  It should be understood that the existing process will not be changed, but the outputs from the process steps will be leveraged to trigger automation of handling of the Shipment files and the triggering of web services related to the Head-end (OWCE). These requirements are explored in section 3 under table “Automation of Ship Files” and also addressed in sections 3.3 GAPs and section 3.4 GAP Resolutions.

Automation at a high level can be summed up into four capabilities that are to be developed:

- Automatic Loading of Endpoint Definition and Endpoint Group files based on specific process step triggered from SAP

- Automatic de-registration of meters based specific process step triggered from SAP

- Automatic Endpoint Clean-up of meters based specific process step triggered from SAP

- Ability to trigger email notification to alert MTC, SEOC and Supply Chain that steps have been complete in either SAP or the Head-End (OWCE).

The proposed automation triggers are based on “movement type”, “user status” at the device level, and “follow up actions” performed as a result of usage decisions of meter testing.

The primary driver for this automation modification is to ensure that the process of meter deployment is scalable and achieve administrative efficiencies for the business.   This is also critical since the Accelerated Deployment (discussed in section 1.1.2 below) will ramp up the Smart Energy meter replacements from 5000 a week to over 18000 a week, averaging about 72000 meter a month.

      - Planning and Deployment of Meters

With R4A, AMI Electric Poly phase meters will be deployed to straight KWH customers using the deployment functionality. However, only 15 poly phase AMI meters and 10 single phase AMI 15 minute interval meters will be deployed to demand based customers by EMO not using the deployment functionality. The deployment planning and execution framework defined for single phase AMI meters will require changes in the following areas to also allow deployment of Poly phase AMI meters.

- R4A: Deployment of poly phase AMI meters to straight KWH customers - No changes required.

- R4: Deployment of poly phase AMI meters to GSD rate (demand based) customers - through CORIX will begin from R4. The registers on the legacy poly phase meters and AMI poly phase meters are not like for like on the meters measuring average power factor. For this reason, the post install interface will need to be enhanced to allow non like for like meter exchanges. This is not a R4A change and will be addressed in R4.

- R5: Deployment of poly phase instrument transformer rated AMI meters - through CORIX will begin from R5. The pre-install file creation will need to be enhanced to send the existing transformer ratio to CORIX. The post install interface will need to be enhanced to accept and validate the transformer ratio calculated by CORIX. This is not a R4A change and will be addressed in R5.

R4A changes:

There are no system changes required to support R4A.

    - Accelerated Deployment of Meters

Electric meter deployment will be accelerated beginning in May, 2015 in order to complete deployment in 2017. This is 2 years ahead of the original plan for 2019.

All the sub processes discussed above (Acquisition/RMA/Retirement/Testing) have some steps (such as End Point creation/Removal, Registration/De-registration at Head-End, Key cleanup etc.,) which are currently done manually.  But with the accelerated deployment, it will be too tedious to handle huge volume of transactions that that will happen during Accelerated Deployment phase.  Hence they are added to the scope of R4A for automation.  In addition, the following deployment functions have been reviewed to determine if changes are required to enable Accelerated Deployment (AD):

- Deployment work order creation: As is process, there are 5,000 meter exchange work orders being created per week but the volume will go up to 20,000 per week with AD. To enable AD, the work orders creation function will be parallel processed manually until R4 and will be parallel processed automatically from R4.

- Pre-install file creation: As is process, the pre-install file contains 15,000 work orders and includes 3 weeks of work orders plus any backlog. But with AD, the pre-install file will contain 60,000 work orders plus any backlog. To enable AD, there will be multiple pre-install files created by each planner. The criteria to create multiple pre-install files are to be determined but there are no system changes required.

- Mass assign work orders to the PS project: Deployment team uses the Order - Mass Change function in foreground within IW38 transaction to update the WBSE, project definition and the sub network/activity on the work orders. However, they would need to execute in background mode when processing higher volumes. No system changes are required here.

- ZRSG_PSPROGRESSA Weekly material and MCBZ reports: These reports provide a weekly outlook of the planned deployment quantities, current stock levels, current transfers and inbound deliveries by plant and meter type. These reports are to be enhanced to include storage location to handle multiple cross docks.

- Supply chain handheld transactions will need to be modified to support multiple cross docks (storage locations).

- Post install interface: will need to be modified to allow it to support multiple storage locations (storage locations).

- CORIX workflow: Navision will need to support multiple storage locations.

Process Requirements

Business Process Diagrams

The Electric Poly phase Meter process between MTC, SEOC, and Deployment are outlined in the embedded Visio.

Projected Standard Report Utilization

SAP delivers a wide range of standard ECC reports (can be viewed by t-code SAP1) which is broken down by module and process.  In the below section, identify & list standard ECC reports can be leveraged as an alternative to extensive custom reports

| Ref. | Description |
| --- | --- |
| 1 | IW38 – Change Work Order List Edit |

SAP Solution Design

Below is a high level design of the R4A processes for Supply Chain and Testing. New objects or modification to exiting objects are shown in green below.

NB: Embedded PDF version for above process flow.

The table below maps the different automation requirements for R4A. These requirements span numerous departments (MTC and SEOC) and affect both supply chain and testing processes. Please review the table for more details.

Automation of Ship Files and Processing of Head End Files

|  | Provisioning (Add EP) [Head End Level] | De-Register (Meter) [Meter Level] | De-Register (OWCE) [Head End Level] | Remove EP and ISM Keys (Cleanup) [Head End Level] |
| --- | --- | --- | --- | --- |
| 305 File [Process] | (1) Add Endpoints (2) Trigger SEOC for to upload the ISM key file -Via E-mail (A) -Add Keys (M) | N/A – Meter not installed/recycled yet | N/A – Meter not installed/recycled yet | N/A |
| Acquisition/SLT [Process] | Endpoints already loaded. Keys already loaded. Register of meters once placed on boards.(A) | De-register meter through optical probe. (M) | (3) De-register SLT meters (A) @ UD. *F.A | N/A |
| Recycle [Process] | N/A - Should already be provisioned. | De-register meter through optical probe. (M) | (4) De-register Recycle meters (A) @ UD *F.A. | N/A |
| Retirement [Process] | N/A | N/A – As the meters are being retired or scrapped. | (5) De-Register the meter in OWCE (A) @ UD *F.A. | (6) Remove Endpoints automatically in OWCE. (A) (7) Trigger to SEOC for Key Clean-up. (A) (E-mail Notification) *F.A. FI_620 |
| RMA (Outbound) [Process] | N/A | N/A | (8) De-register in OWCE @ UD *F.A. @ 541 | (9) Remove Endpoints automatically (A) Single vs. Bulk *F.A. (10) Trigger to SEOC for Key clean up. (E-mail notification) |
| RMA (Inbound) [Process] | (1) Add Endpoints (2) Trigger SEOC for - Email to Add Keys (A) - Add Keys (M) *F.A.QM_040 3rd Party Results (Check if functional testing is needed.) | N/A | N/A | N/A |

NB: The 1-10 denote that an enhancement will be needed.

Abbreviations:

(A) - Automate

F.A. – Follow up Action(s)

(M) – Manual

SLT – Sample Lot Testing

UD – Usage Decision

Solution Key Design Decisions

The intent here is to list important key decisions relevant to the process and core aspects of the design that are relevant to leadership and key stakeholders. These key decisions should be pre-populated with an initial recommendation that is appropriate for the client industry/sector and based on the VSM outputs.

| Ref. | Key Decision Description | Initial Recommendation | Key Decision Made |
| --- | --- | --- | --- |
| 1 | Meter acquisition, meter testing, retirement and RMA processes for KV2c smart electric poly phase meters. | The meter acquisition, meter testing, retirement and RMA process established for the Centron single phase electric meters as part of R3 will be leveraged for GE KV2c meters with additional automation requirements for R4A. Covered in detail below in the GAP resolution section. | Same as initial recommendation. |
| 2 | Deployment of KV2c meters to KWH only accounts. | The deployment planning and execution functionality in place will enable deployment of KV2C meters with no changes. | Same as initial recommendation. |
| 3 | Deployment of KV2c meters to GSD rate accounts. | The Smart Energy deployment team requires this capability built to allow deployment to GSD rate customers through both OMAR and MIV’s systems. OMAR changes are covered in the pre-cutover to interval billing system BPD, while the MIV’s system changes are documented in this system BPD. | MIV changes not required until R4. |
| 4 | Deployment of KV2c meters to customers with Instrument transformer rated (ITR) legacy meters. | The Smart Energy deployment team requires this capability built in both OMAR and MIV’s deployment processes to enable instrument transformer rated (ITR) meter exchanges. OMAR workflows already have this capability and only MIV interfaces are to be changed. | MIV changes not required until R5 |
| 5. | Deployment of 15 minute interval Centron single phase meters. | The deployment planning and execution functionality in place will enable deployment of 15 min interval single phase meters with no system changes. New master data will need to be set up (e.g. material numbers for the meters ) and all relevant z-tables in the different enhancements that support deployment planning and execution functionality will need to be updated to reflect the new master data. | Same as initial recommendation. |
| 6 | Multiple Cross Docks (storage locations) to support Accelerated Deployment | CORIX will be responsible for making any changes to their workflows need to support multiple cross docks. A mapping of MRU to cross dock will be provided to CORIX. There will be no preinstall file changes. | Same as initial recommendation. |

Design details

The intention of this section is to collect all additional design decisions needed to configure the system.

Examples Include: Number ranges, document types, etc.

| Ref. | Design Component | Initial Recommendation | Design details |
| --- | --- | --- | --- |
| 1 | Kv2c Poly phase Electric Meter Master Data for Asset creation in SAP & downstream systems: Poly phase meters need different Material number in SAP as they are different to legacy poly phase meters class of meters. | New Material Numbers & Device Categories need to be created for the Kv2c electric poly phase meters. | Below new Centron Materials/Device Categories need to be created in SAP. 88000401-5S20A 88000501-9S20A 88000601-12S200 88000801-16S200 88000901-16S320 |
| 2 | Poly phase Meter Program IDs | Below are the meter programs defined by MTC Engineering for the Centron Meter Types. Device category; Meter Type; ITRON Program ID. 88000401; 5S20A; TBD. 88000501; 9S20A; TBD. 88000601; 12S200; TBD. 88000801; 16S200; TBD. 88000901; 16S320; TBD. | These meter Program Id’s need to be configured in SAP to be leveraged during the Poly phase Meter Install and passed to IEE MDM. |
| 3 | Poly phase Register Groups | Device category; Meter Type; Register Group. 88000401; 5S20A; ESM_D. 88000501; 9S20A; ESM_D. 88000601; 12S200; ESM_D. 88000801; 16S200; ESM_D. 88000901; 16S320; ESM_D. | New register groups will need to be assigned to the device categories. |
| 4 | AMS Determination Group | Device category; Meter Type; AMS Det. Group. 88000401; 5S20A; OWCE. 88000501; 9S20A; OWCE. 88000601; 12S200; OWCE. 88000801; 16S200; OWCE. 88000901; 16S320; OWCE. | AMS Determination Group will need to be assigned to the device categories. |
| 5 | AMCG Determination Group | Device category; Meter Type; AMCG Det. Group. 88000401; 5S20A; AMI_PP. 88000501; 9S20A; AMI_PP. 88000601; 12S200; AMI_PP. 88000801; 16S200; AMI_PP. 88000901; 16S320; AMI_PP. | AMCG Determination Group will need to be assigned to the device categories. |
| 6 | Work Order Type with MATs | Existing Work Order Types and Maintenance Activity Types (MAT) that are currently being used for AMI meter exchanges and removals will be used for the electric Kv2c poly phase meters too. Work Order Type; MAT. MIV; ESGP; RPL. CE; EMTR; SRP. MIV; ESGP; RMV. CE; EMTR; SRM. |  |
| 7 | 15 minute interval single phase meters | The material numbers and corresponding program IDs for the 15 minute single phase meters are yet to be determined. | There is already an action item that is being tracked in the pre-cutover to interval billing R4A Systems BPD. |

Gaps

Document any real or perceived gaps in process functionality.

    - Meter Acquisition and Creation

| Ref. | Gap Description |
| --- | --- |
| EPM-026 | New data items that will be added to the pre and post install files for CORIX for R4 Poly phase meters: -KW -KVARH -Multiplier Factor |
| EPM-022 | Systems (Superior OpenWay) & Functionality for 1st article testing must be completed and accepted before first production delivery of Poly phase meters: - Master data needs to be set up before R4A Nov go live - 1st article testing will not be ready until after go live, some work around might be need if a shipment is received |
| EPM-025 | Automatically load the end point files to the OWCE HE after the manufacturers test results are loaded and reviewed in SAP but before the UD (Usage Decision) has been made |
| EPM-032 | SEOC validation of HE ship files (EPGL vs EPDL vs PSF files) to be performed within SAP |

    - Meter Return Merchandise Authorization (RMA)

| Ref. | Gap Description |
| --- | --- |
| EPM-013 | A sum breakdown by different vendor analysis outcome codes is required for the existing 305 validation summary file. |
| New Req 5 | Trigger EDPL Cleanup based on the 541 Movement. Automatic Head End EDPL clean up and de-registration on the OWCE. |

    - Meter Retirement

| Ref. | Gap Description |
| --- | --- |
| EPM-024 | Automatic end point cleanup is required in OWCE after meters are retired in SAP |
| EPM-039 | Given the expected volume of retired meters develop a means to automatically flag the retired meters to ensure all systems are in sync – process applicable beyond deployment |
| EPM-040 | All systems need to automatically cleanup/remove/update information for meters when they are retired. |
| New Req. 8 EPM-040 | Automatic de-registration the Open Way Collection Engine for Retirement based on movement type 551 or user status “RMR”. |
| New Req 6 EPM-040 | Leverage enhancement for interface ED1 to send a daily e-mail that will show the meters that were retired that day. From there EDPL and Z-table cleanup will happen. When a meter is retired at the MTC based on testing (Recycle/Acquisition/Retirement), upon save in the system (usage decision) trigger sequence below: Deregistration of meter on the OWCE (to be Automated) EP Clean up in HE (to be Automated) ISM key purge in HE (Manual) Deactivation to Verizon (done thru a request to I-ACCESS portal) (Manual) Z-table (Verizon Invoice) needs to be updated (to be Automated) Gird Director (Automatic) |

    - Meter Testing

| Ref. | Gap Description |
| --- | --- |
| EPM-023 | Automatic OWCE de-registration of meters is required (if the device testing passes) at the head-end level (OWCE) only after MTC completes the accuracy testing. Also, automatic deregistration of meters for sample lot at recycle (MTC will de-register the meter at the meter level using a probe, but this does not de-register the meter on OWCE. This requirement is to de-register the meter at the head-end level ) |
| EPM-034 | Meter configuration needs to be retrieved from OWCE for both single phase and poly phase meters as part of functional testing |

    - Planning and Deployment of Meters

| Ref. | Gap Description |
| --- | --- |
| EPM-014 | CE needs to receive documents related to Service Restoration from CORIX. These files need to be stored digitally, these include: 1. Device Location for Customer 2. Corix Work order 3. Device Location Invoice 4. Permit (if required) 5. Pictures of work 6. What master invoice(Corix) the Device Location invoice ties to This information will need the ability to be queried by device location |
| EPM-018 | Create an automatic monthly AMI/AMR Deployment Status and Energy Served Report for the Energy Information Administration. |
| EPM-012 (BAT change request pending) | Need to send advance notification to business center when a Business Center assigned customer is receiving a smart meter(Polyphase and singlephase) and is ready to deploy |

    - Accelerated Deployment of Meters

| Ref. | Gap Description |
| --- | --- |
| Accelerated Deployment | For Accelerated Deployment: ZRSG_PSPROGRESSA Weekly report shall be enhanced to include storage locations to handle multiple cross docks. |
| Accelerated Deployment | MCBZ report shall be enhanced to include storage locations to handle multiple cross docks. |
| Accelerated Deployment | Supply chain handheld transactions will need to be modified to support multiple cross docks (storage locations). |
| Accelerated Deployment | Post install interface: will need to be modified to allow it to support multiple cross docks (storage locations). |
| Accelerated Deployment | CORIX workflow changes to handle multiple cross docks. |
| Accelerated Deployment | Consume the ESN, Firmware version from the raw 305 file or the UD, after MTC performs the UD with code “AOK”. |

Original Electric Poly Phase R4A Requirements:

Extracted from PJT03247 CE_Business_Process_Design_(BPD)_Electric_Polyphase - 2014-04-04 Approval.docx

Gap Resolution

Gap resolution should primarily be proposals of process changes, process work-around, or unique configuration.  Development customization is a last resort, requiring steering committee approval.

    - Meter Acquisition and Creation

| Ref. | Gap Resolution | Requirement Met |
| --- | --- | --- |
| EPM-026 | The pre-install file creation and post install file processing already support multiple registers on a meter. But, the pre-install and post install file functions are to be enhanced to support deployment to GSD rate customers for R4 and customers that have instrument transformer rated meters for R5. | No- Moved to R5 |
| EPM-022 | 1st Article testing cannot be complete before Go-live. A risk has been logged in clarity RSK05934. The workaround options are: 1) Skip 1st article for first shipment and perform it for second shipment. 2) 1st article will be done only after go live. Technical assessment still needs to be done and it is planned for first week of November. No system change and master data will be created by business. | No- Risk RSK05934 has been logged. |
| EPM-025 | A new z-transaction is to be introduced between the review of the results and the usage decision. Load endpoint web service to be trigger from this transaction. High level steps: - The manufacturer Test results will be uploaded (Manufacturer Inspection Lot) - Review of Results - Z-transaction - Usage Decision | Yes |
| EPM-032 | New enhancement in SAP will be created to perform the validation. This will also require a modification to the BizTalk jobs responsible for placing file to the MTC and SEOC folders. | Yes |
| EPM-034 | There is currently no web service calls available from ITRON. We are unable to address this requirement. A hotfix will need to be requested. This requirement will need to be deferred to R4, based on availability of hotfix. | N/A –there is no web service from ITRON to make this possible |

    - Meter Return Merchandise Authorization (RMA)

| Ref. | Gap Resolution | Requirement Met |
| --- | --- | --- |
| EPM-013 | Categorization will be done for error /exceptions in the validation report into buckets that simplify identification of issues that require action. Each bucket will be owned by SEOC or MTC. - New block for summary will be added before 305 vs PSF validation - Summary to show how many meters by different outcome codes - Count of meter By meter code New block will be added to existing program. | Yes |
| New Req 5 | Endpoint clean-up web service to be triggered based on SAP movement type 541. | Yes |

    - Meter Retirement

| Ref. | Gap Resolution | Requirement Met |
| --- | --- | --- |
| EPM-024 EPM-039 EPM-040 New Req. 8 New Req. 6 | When a meter is retired at the MTC based on testing (Recycle/Acquisition/Retirement based on (usage decision) a follow-up action will be triggered. The de-registration web service will also be triggered based on SAP movement type or user status - Movement type 541 (issue to subcontracting) - Movement type 551 (issue to scrap) - User status (58 and 59) - User status (RMR) The process is outlined below: - Deregistration of meter on the OWCE (to be Automated) - EP Clean up in HE (to be Automated) - ISM key purge in HE (Manual) - Deactivation to Verizon (done thru a request to I-ACCESS portal) (Manual) - Z-table (Verizon Invoice) needs to be updated (to be Automated) [Out of scope for R4A] - Gird Director [already updated from SAP] (Automatic – already in place) Un-retirement process would be manual. | Yes |

    - Meter Testing

| EPM-023 | If a meter is de-registered using a probe, then the meter will be automatically de-registered on OWCE using enhancement based the usage decision in SAP. The outcome code from the usage decision will trigger the OWCE web service for de-registration. | Yes |
| --- | --- | --- |
| EPM-034 | Meter configuration needs to be retrieved from OWCE for both single phase and poly phase meters as part of functional testing. This is not possible without an OWCE web service. | No-No Web service available |

    - Planning and Deployment of Meters

| Ref. | Gap Resolution | Requirement Met |
| --- | --- | --- |
| EPM-014 | Service restoration automation | NA- deferred to R5 |
| EPM-018 | Report to be developed. | Yes |
| EPM-012 (BAT change request pending) | Enhancement 242 will be updated by adding new fields to the Customer Communication short term plan to that will reflect that a customer is a Business Center assigned customer. | Yes |

    - Accelerated deployment of Meters

| Ref. | Gap Resolution | Requirement Met |
| --- | --- | --- |
| Accelerated Deployment | For Accelerated Deployment: ZRSG_PSPROGRESSA Weekly report shall be enhanced to include storage locations to handle multiple cross docks. | Yes |
| Accelerated Deployment | MCBZ report shall be enhanced to include storage locations to handle multiple cross docks. | NA-MCBZ is a standard report. ZRSG_PSPROGRESSA Weekly report will be enhanced. |
| Accelerated Deployment | Supply chain handheld transactions (ZSCEPACK, ZSCE116, ZSCE113, ZHUISSUE, ZHURECEIVE) will need to be modified to support multiple cross docks (storage locations). | Yes |
| Accelerated Deployment | Post install interface: will need to be modified to allow it to support multiple cross docks (storage locations). | Yes |
| Accelerated Deployment | CORIX workflow (Navision) changes to handle multiple cross docks. (See section 5) | Yes |
| Accelerated Deployment | Based on usage decision code, a notification will be sent to ESB. ESB to read the Meter ESN and Firmware version from archived 305 file. | Yes |

Technical Considerations – Forms

Describe all output forms and reports required to support the operations of this Business process.  The client should be encouraged to use standard SAP forms, with company logo addition only if possible.

| Ref. | PRICEFW ID | Forms Description |
| --- | --- | --- |
|  | NA |  |

Technical Considerations – Reports

Describe any critical report that is unique to the client or industry and is not provided by SAP standard reporting.  The client should be encouraged to limit custom report requests as more experience with the system will negate most initial requests for custom reporting.  The technology for providing the report can be determined later (e.g., BI v. ECC).

Planning and Deployment of Meters

| Ref. | PRICEFW ID | Reports Description |
| --- | --- | --- |
| EPM-018 | DM_REP_EPM_001 | An ABAP report will be developed to retrieve total number of AMI meters installed till date and total KWH consumption delivered and received through them. The number of AMI meters and KWH consumption will be aggregated for each of the residential, commercial and industrial categories. |

Accelerated deployment of Meters

| Ref. | PRICEFW ID | Reports Description |
| --- | --- | --- |
| Accelerated Deployment |  | For Accelerated Deployment: ZRSG_PSPROGRESSA Weekly report shall be enhanced to include storage locations to handle multiple cross docks. |

Technical Considerations – Interfaces

Please note all interfaces required to provide inputs to or outputs from this part of the process. Note any functional description of the interfaces that may have been discussed in the workshop.  Encourage the de-commissioning of legacy interfaces where only low volume or marginal information value is provided.  Include description of real-time interactive interfaces versus batch and file transfer interfaces.

    - Meter Return Merchandise Authorization (RMA)

| Ref. | PRICEFW ID | Interface Description |
| --- | --- | --- |
| EPM-012 | DM_INT_EPM_001 Enh_242.Int_86 (BAT change request pending) | Update Enh_242.Int_86 by adding new fields to the Customer Communication short term plan to that will reflect that a customer is a Business Center assigned customer. |
| EPM-025 | DM_INT_EPM_002 | Inbound confirmations for endpoints need following functions 1. Update z table for errors and new transaction to view errors. 2. When successful add endpoint then email notification to SEOC to alert them ISM Key Files can be uploaded, 3. removing EP's, and de-registering confirmations |

    - Meter Acquisition and Creation

| Ref. | PRICEFW ID | Interface Description |
| --- | --- | --- |
| EPM-025 | DM_INT_EPM_00 | BizTalk jobs for validation of EDPL, EGPL, and PSF. 1. Pick up EDPL, EGPL, PSF from ITRON FTP location and place in K drive. 2. Pick from k drive to PI for staging in SAP. |

    - Meter Retirement

| Ref. | PRICEFW ID | Interface Description |
| --- | --- | --- |
| EPM-023 EPM-024 | DM_INT_EPM_004 | Trigger the web service to “De-register” Trigger the web service to “Remove Endpoint definition” automatically in OWCE. Trigger email notification to SEOC to alert that ISM Key Files should be cleaned up. |

    - Meter Testing

| Ref. | PRICEFW ID | Interface Description |
| --- | --- | --- |
|  | NA | Updates to follow up actions are already addressed in 3.7.1, 3.7.2, 3.7.3 above. |

    - Planning and Deployment of Meters

| Ref. | PRICEFW ID | Interface Description |
| --- | --- | --- |
|  | NA |  |

    - Accelerated Deployment of Meters

| PRICEFW ID | Ref. | Interface Description |
| --- | --- | --- |
| Accelerated Deployment | INT_086 | Post install interface: will need to be modified to allow it to support multiple cross docks (storage locations). |

Technical Considerations - Conversion Requirements

Please describe data conversion requirements for cut-over. This can include master data or open transactional data.   Note the legacy systems that currently store the required data.   Include manual conversions, not just automated.

| Ref. | PRICEFW ID | Conversion Description |
| --- | --- | --- |
| EPM-025 | DM_CNV_EPM_001 | Conversion of TMS data for validation. |

Technical Considerations – Enhancements

The client should use process changes or work-around to avoid the need for enhancements.  Any enhancement must require steering committee approval.  Include a description of the proposed enhancement, the customer or compliance critical requirement that is driving it and why no work-around or process change can suffice.

    - Meter Acquisition and Creation

| Ref. | PRICEFW ID | Enhancement Description |
| --- | --- | --- |
| EPM-025 | DM_ENH_EPM_001 | Z-Transaction to perform following functions: F1 Validate EDPL, EGPL, PSF files. F2 Trigger web service to add Endpoint Definition |

    - Meter Return Merchandise Authorization (RMA)

| Ref. | PRICEFW ID | Enhancement Description |
| --- | --- | --- |
| EPM-013 | DM_ENH_EPM_002 INT_020 | Summary needs to show how many meters by different outcome codes (See attached email for the Vendor Analysis Outcome Codes) Count of meter By meter code Based on usage decision code, a notification will be sent to ESB. ESB to read the Meter ESN and Firmware version from archived 305 file. New block for summary of Vendor Analysis Codes needs to be added before 305 vs PSF validation block to 305 validation report |

    - Meter Retirement

| Ref. | PRICEFW ID | Enhancement Description |
| --- | --- | --- |
|  | NA |  |

    - Meter Testing

| Ref. | PRICEFW ID | Enhancement Description |
| --- | --- | --- |
|  | NA |  |

    - Planning and Deployment of Meters

| Ref. | PRICEFW ID | Enhancement Description |
| --- | --- | --- |
|  | NA |  |

    - Accelerated Deployment of Meters

| Ref. | PRICEFW ID | Enhancement Description |
| --- | --- | --- |
| Accelerated Deployment |  | Transactions ZSCEPACK, ZSCE116, ZSCE113, ZHUISSUE and ZHURECEIVE will need to be updated to handle multiple storage location. |
| Accelerated Deployment | DM_ENH_EPM_003 | Consume the ESN, Firmware version from the raw 305 file or the UD, after MTC performs the UD with code “AOK”. |

Technical Considerations – Workflows

The client should use process changes or work-around to avoid the need for workflows.  Any workflow must require steering committee approval.  Include a description of the proposed workflow, the customer or compliance critical requirement that is driving it and why no work-around or process change can suffice.

    - Meter Acquisition and Creation

| Ref. | PRICEFW ID | Workflow Description |
| --- | --- | --- |
|  | NA |  |

    - Meter Return Merchandise Authorization (RMA)

| Ref. | PRICEFW ID | Workflow Description |
| --- | --- | --- |
|  | NA |  |

    - Meter Retirement

| Ref. | PRICEFW ID | Workflow Description |
| --- | --- | --- |
|  | NA |  |

    - Meter Testing

| Ref. | PRICEFW ID | Workflow Description |
| --- | --- | --- |
|  | NA |  |

    - Planning and Deployment of Meters

| Ref. | PRICEFW ID | Workflow Description |
| --- | --- | --- |
|  | NA |  |

    - Accelerated Deployment of Meters

| Ref. | PRICEFW ID | Workflow Description |
| --- | --- | --- |
| Accelerated Deployment | External – Not SAP | CORIX work management (MBLink) will need to support multiple storage locations |

Technical Considerations – Portals

The client should use process changes or work-around to avoid the need for portals.  Any portal must require steering committee approval.  Include a description of the proposed portal, the customer or compliance critical requirement that is driving it and why no work-around or process change can suffice.

    - Meter Acquisition and Creation

| Ref. | PRICEFW ID | Portal Description |
| --- | --- | --- |
|  | NA |  |

    - Meter Return Merchandise Authorization (RMA)

| Ref. | PRICEFW ID | Portal Description |
| --- | --- | --- |
|  | NA |  |

    - Meter Retirement

| Ref. | PRICEFW ID | Portal Description |
| --- | --- | --- |
|  | NA |  |

    - Meter Testing

| Ref. | PRICEFW ID | Portal Description |
| --- | --- | --- |
|  | NA |  |

    - Planning and Deployment of Meters

| Ref. | PRICEFW ID | Portal Description |
| --- | --- | --- |
|  | NA |  |

    - Accelerated Deployment of Meters

| Ref. | PRICEFW ID | Portal Description |
| --- | --- | --- |
|  | NA |  |

User Roles and Authorizations

From the process flow diagram, list all reference roles used in this process.  Document the authorization restrictions proposed relying first on the Organization Level (e.g., company code, sales organization) and only using process-based restrictions (e.g., order type, account group) on an exceptional basis.

| Ref. | Description | Transaction | Single Role |
| --- | --- | --- | --- |
| EPM-040 EPM-025 | Manage HE Ship Files | TBD | MTC & SEOC |
| EPM-018 | EIA report: AMI/AMR deployment status and total KWH consumption report | TBD | ZDEAM_EXC_COST_REPORTS_PS_SGSD |

Technical Considerations – Business Process Procedure

Identify list of BPP’s required during execute (realization) phase

| Ref. | PRICEFW ID | Enhancement Description |
| --- | --- | --- |
| EPM-040 EPM-025 | DM_BPP_EPM_001 | Manage HE Ship Files |
| EPM-018 | DM_BPP_EPM_002 | EIA report: AMI/AMR deployment status and total KWH consumption report. A job aid is needed to run the report. |

Performance Considerations

Capture any system performance criteria and requirements that must be met.  Note: add any additional performance considerations that aren’t captured in the following tables.

The form objects requiring user input interaction should have “Key” input, data refresh response which is within acceptable limits of 30 sec. Response for results from Queries with restrictive filters on a medium dataset is within an acceptable limit of up to 3 min.

Forms, reports, enhancements that run and process large datasets in excess of 5000 transactions should be run in background on SAP ERP. Please provide justification, if there is a requirement for foreground processing.

Please provide information in the table below, if it exists for the forms, enhancements, reports and portal objects on the current legacy system. This information would be used as an input for stress testing.

| Ref. | PRICEFW ID | Description | Frequency/Mode | Performance Requirement |
| --- | --- | --- | --- | --- |
|  | NA |  |  |  |

Regression Test Considerations

Please describe any special regression validation testing that needs to be performed.

| Ref. | PRICEFW ID | Description |
| --- | --- | --- |
| EPM-001 | INT_086, INT_265, ENH_740 | The deployment planning and execution functionality in place for single phase meters will enable deployment of KV2C meters with no changes. |
| EPM-004 | INT_086, INT_265, ENH_740 | The deployment planning and execution functionality in place for single phase meters for EMO and MIV will enable deployment of KV2C meters with no changes. |
| EPM-020 | INT_3012, INT_460, INT_720, ENH_700 | SEOC-9 will validate only KWH reads for poly phase meters like it does for the single phase meters. ED-1 also communicates asset data to GD for poly phase meters. |
| EPM-013 | DM_INT_DTR_003 | Regression test the functions module “Z_QM020_VALIDATE” [that generates the 305 validation report] is currently performed before the changes are made, to make sure that they call be performed efficiently and accurately (even after the modification to this interface). |
| Accelerated Deployment | INT_620 | Regression test the Interface for all other functions that are currently performed before the changes are made, to make sure that they call be performed efficiently and accurately (even after the modification to this interface). |
| Accelerated Deployment |  | Transaction ZSCEPACK. Regression test the transaction for all other functions that are currently performed before the changes are made, to make sure that they perform efficiently and accurately (even after the modification to this transaction). |
| Accelerated Deployment |  | Transaction ZSCE116. Regression test the transaction for all other functions that are currently performed before the changes are made, to make sure that they perform efficiently and accurately (even after the modification to this transaction). |
| Accelerated Deployment |  | Transaction ZSCE113. Regression test the transaction for all other functions that are currently performed before the changes are made, to make sure that they perform efficiently and accurately (even after the modification to this transaction). |
| Accelerated Deployment |  | Transaction ZHUISSUE. Regression test the transaction for all other functions that are currently performed before the changes are made, to make sure that they perform efficiently and accurately (even after the modification to this transaction). |
| Accelerated Deployment |  | Transaction ZHURECEIVE. Regression test the transaction for all other functions that are currently performed before the changes are made, to make sure that they perform efficiently and accurately (even after the modification to this transaction). |

Implementation Considerations

This section captures initial considerations for how to effectively implement the new process and the external and internal factors that must be taken into account.

Key Performance Indicators (KPIs)

Focus on KPIs and benefits attainment can help maintain support for the new or changed process.  Document the future state KPIs for the process.  Leverage the E2E value stream work and Insight industry benchmarks.

| Ref. | Operational KPI | Description | Expected Improvement | Changes required to achieve |
| --- | --- | --- | --- | --- |
|  | NA |  |  |  |

Major Policy/Regulatory/SOX Considerations

List company policies and regulatory considerations impacted by this business scenario.

| Ref. | Policy/Regulatory Impacted (New or Changed) | Description of Policy/Regulatory Impact |
| --- | --- | --- |
|  | NA |  |

Organization Change

Describe how this business scenario or process will affect the organization.

| Ref. | Description of Business Process Change and Impact |
| --- | --- |
|  | NA |

System Contacts

| System | Contact Name | Email | Phone Number |
| --- | --- | --- | --- |
| BizTalk | Brian Renner | Brian.renner@cmsenergy.com | 517-788-7127 |
| Head End | Padmaja Talluri | Padmaja.talluri@cmsenergy.com | 517-788-8973 |
| ITRON | Hari Bhanu | Harikrishnan.Bhanu@itron.com | 919-909-6326 |
| ESB | Nilabja Guha | Nilabja.Guha@capgemini.com | 778-452-6770 |
| SAP | Legodile Kwapa | Lego.kwapa@capgemini.com | 402-547-7758 |
| CORIX | Dennis Block | Dennis.Block@Corix.Com |  |

Outstanding Issues

| Item | Description | Person Responsible | Due Date | Resolution |
| --- | --- | --- | --- | --- |
| Accelerated Deployment | All items addressed in this document related to Accelerated deployment are contingent on the approval of a change request to have them addressed as a part of R4A. | Nitish Walia | 7/25/2014 |  |

Documents Referenced

| Item | Document Name | File Location |
| --- | --- | --- |
| 1 | SAP_Meeting Minutes_Meter Acquisition RMA RMR 6 17 14 | SGE Documents > Release 4 Complex Billing > SAP R4 > 04 Meetings > Requirements > R4A_Polyphase |
| 2 | SAP_Meeting Minutes_Meter RMA RMR 6.19.14 | SGE Documents > Release 4 Complex Billing > SAP R4 > 04 Meetings > Requirements > R4A_Polyphase |
| 3 | SAP_Meeting Minutes_Meter TestingR 6 24 14 | SGE Documents > Release 4 Complex Billing > SAP R4 > 04 Meetings > Requirements > R4A_Polyphase |
| 4 | SAP_Meeting Minutes_PolyPhase_ESB 6 30 14 | SGE Documents > Release 4 Complex Billing > SAP R4 > 04 Meetings > Requirements > R4A_Polyphase |
| 5 | SAP_Meeting Minutes_Meter Acquisition RMA RMR Report Out 7 7 14 | SGE Documents > Release 4 Complex Billing > SAP R4 > 04 Meetings > Requirements > R4A_Polyphase |
| 6 | PJT02419.SAP.System.BPD.Device Ret and RMA | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 7 | PJT02419.SAP.System.BPD.MIV.Invoice.Recon.REP010 | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 8 | PJT02419.SAP.System.Business.Process.Design.Device.Testing | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 9 | PJT02419.SAP.System.Business.Process.Document.Deployment.Acquistion.Testing.Electric | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 10 | PJT02419.SAP.System.Business.Process.Document.Deployment.Manufacturer.Test.File.Recording.Electric | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 11 | PJT02419.SAP.System.Business.Process.Document.Deployment.Planning | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 12 | PJT02419.SAP.System.Business.Process.Document.Deployment.Purchasing.Process | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 13 | PJT02419.SAP.System.Business.Process.Document.Deployment.Recycled.Meter.Testing.Electric | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 14 | PJT02419.SAP.System.Business.Process.Document.Technical_Assessment | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 15 | PJT02419.SAP.Systems.Business.Process.Document.Deployment.Subcontracting.Repair.Electric | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 16 | PJT02421.SAP.System.BPD.Electric.Deployment.WIWOC.and.Pre-Install.File.Process | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 17 | PJT02421.SAP.System.Business.Process.Document.Electric.Deployment.MIV.Post.Install.Process | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |
| 18 | PJT02421.SAP.System.Business.Process.Document.Electric.Deployment.Deployment.Interfaces | SGE Documents > SAP R3 > 02 Deliverables > Define > System Process Design (SYS) |

Conclusion

The proposed changes in this document for the Kv2c AMI electric poly phase meters will be incorporated into the existing Smart Energy Business Processes and are modeled around the existing functionality delivered in Release 3 for the Centron AMI electric single phase meters.

Sign-off

- REVIEWER(S)

| Name | Title | Department | Reviewed (date/time) |
| --- | --- | --- | --- |
| Amit Jadli | Integration Testing, Capgemini | Smart Energy Program |  |
| Clark Oeler | Controls | BTS SD&M-Appl Delivery Office |  |
| Jack Hobbick | Testing Program Manager | Business Integration Team |  |
| Chaitanya Kodela | BTS SD&M Solution Architect | BTS |  |
| Jessica Scott | Controls | BTS SD&M-Appl Delivery Office |  |
| Manoj Ajgaonkar | SAP QA Advisor | Smart Energy Program |  |
| Nitish Walia | Solution Architect, Capgemini | Smart Energy Program |  |
| Scott Tingle | AMI Program Lead | BTS |  |
| Nilabja Guha | ESB | BTS Bus Rel Mgmt-CE&O/SG |  |
| Hayden Sheppard | ITRON | Itron |  |
| Dennis Block | CORIX IT | CORIX |  |
| Laura Voncina | Supply Chain Coordinator | Supply Chain |  |
| Shirley Bordner | G Tech ANL II | Supply Chain |  |
| Catherine E. Miller | G ENGINEER II | MTC |  |

- APPROVER(S)

| Name | Title | Department | Approval (date/time) |
| --- | --- | --- | --- |
| Dave Khuong | SAP Delivery Manager | Smart Energy Program |  |
| Jeff Debiasi | BTS TECH SR LEAD/SPEC I | BTS SD&M-Corp & ERP Applications |  |
| Ramesh Swarna | SAP Lead, Capgemini | Smart Energy Program |  |
| Loknath Sriparavastu | SAP lead, CMS Energy | Smart Energy Program |  |
| Chad Conrad | SAP Release Manager | Smart Energy Program |  |
| Kris Pascarello | DEPLOYMENT LEAD | Smart Grid (SG) Deployment |  |
| Scott Fremeau | BTS TECH SR LEAD/SPEC II | BTS SD&M-WAM |  |
| Sandra Wymer | Supply Chain Coordinator | Supply Chain |  |
| Mike Crapo | MGR METERING TECH SVCS | EOS-Meter Tech Svcs |  |
| Tim Brewer | SR TECH ANL LEAD | EOS-MTC Device Management |  |

Contributors and Participants

| Name | Organization | Area of Contribution |
| --- | --- | --- |
| Legodile Kwapa | Capgemini | Author |
| Srikanth A. Buddarraju | Consumers Energy | Device Management, Work Management, Planning, Author |
| PHIL RANONI | Consumers Energy | Supply Chain |
| Steve Wilson | Capgemini | Quality Management |
| Mohammad A Khazi | SAP | Project systems, Author |
| Bill Willis | SAP | Work Management |
| Venkat Aluru | Capgemini | Technical |
| Elie Roques | Capgemini | Technical |
| Jana Terry | Consumers Energy | SC |
| Scott Pruitt | Consumers Energy | SEOC |
| Kris Pascarello | Consumers Energy | Deployment |
| Donna Van Tassell | Consumers Energy | Deployment |
| Ryan Kuenner | Consumers Energy | SEOC |
| Luis Arcienega | Consumers Energy | SEOC |

Version Control

| Version follow up |  |  |  |
| --- | --- | --- | --- |
| Date | Description of change | Who | Version |
| 06/17/2014 | Initial Draft | Legodile Kwapa | 0.1 |
| 07/01/2014 | Initial Peer Reviewed Version | Legodile Kwapa | 0.2 |
| 07/13/2014 | Solution Architecture & QA Review | Legodile Kwapa | 0.3 |
| 07/14/2014 | Incoprorate changes from Approvers. | Legodile Kwapa | 0.4 |

| Attachments |  |  |
| --- | --- | --- |
| Document Name | Version | Brief Description |
| NA |  |  |